# Dear Client,

# Please provide a copy of this report to the property owner or Homeowner Association Board of Directors (“Owner”) for insertion into Owner’s permanent records, including all budgets and reserve studies, where it shall remain at least until the completion of the next two periodic inspections of the elements of the subject property, as may be required by law.

# This report, and all annexed photo documentation (excluding the Prior Report attached as Annex 1, which remains the work product of its author), and all content thereof, constitute the work product of Deck Inspectors, Inc.  (“Company”) (collectively, the “Work Product”), and, as such, Company shall retain all common law, statutory and other rights thereto hereby reserved, including all copyrights.  Submission or distribution of any Work Product to meet regulatory or statutory requirements or for similar purposes shall not be construed as publication in derogation of the reserved rights of Company, and Company shall have the right, but not the obligation, to make and retain copies of its Work Product.

# Deck Inspectors, Inc.

# 888-224-0489

# REVIEW REPORT – “REVIEW OF PRIOR INSPECTION REPORT”

A review (“Review”) of a prior inspection report of the Exterior Elevated Elements (“EEE”) (the “Prior Report”, attached as Annex 1
      ), including its treatment of the load-bearing components (“LBC”) and associated waterproofing elements (“AWE”), was performed for the property indicated below. The date shown is the date of the Reviewer’s inspection; the date of the original inspection is stated in the Prior Report Information below:

Subject Property Address:

| Date of Inspection: |  |
| --- | --- |

The Prior Report states that its inspection was performed pursuant to the requirements of California Civil Code Section 5551 (if Homeowners Association property (“HOA Property”) or Health and Safety Code Section 17973 (if apartment property (“Apartment Property”)). This Review was performed under the terms of a contract between the Owner and Deck Inspectors Inc. (“Company”).  According to the Prior Report, there are: 
       
      
      (EEE= Exterior Elevated Elements)

| Property Total Unit Count | 0 | # Units with EEE: | 0 | Total # EEE Count: | 0 | Total # EEE Inspected | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- |

The Inspection generally consisted of a review of the EEE listed below:

| Decks ☐ | Railings ☐ | Stairs ☐ | Walkways ☐ | Entry Areas ☐ |
| --- | --- | --- | --- | --- |
| Other ☐ |  |  |  |  |

The associated waterproofing elements for the foregoing generally consist of:

| Flashings ☐ | Membranes ☐ | Coatings ☐ | Sealants ☐ |
| --- | --- | --- | --- |
| Other ☐ |  |  |  |

Prior Report states all Unit EEE were inspected:     Yes  ☐                No  ☐

Units or areas specifically excluded from this Report of Inspection (If any), are:

Reason for exclusion: None

0

Per the Prior Report, the total number of inspected exterior elevated elements identified as posing an immediate threat to the safety of the occupants and the number of units impacted.

Reviewer Certification:  The undersigned certifies that s/he has reviewed the Prior Report identified herein and that the opinions stated in this Review are based upon that review.

| Inspector Name | NA |  |
| --- | --- | --- |
| Qualifying Title | NA |  |
| License # | NA |  |

Review of Prior Inspection Report

Prior Report Information

| Applicable Law: | Choose an item. |
| --- | --- |
| Property Type: | Choose an item. |
| Prior Inspection Company: | Click or tap here to enter text. |
| Prior Inspector Name: | Click or tap here to enter text. |
| Prior Inspector License / Certification (type and #): | Click or tap here to enter text. |
| Date of Prior Inspection: | Click or tap here to enter text. |
| Date of Prior Report: | Click or tap here to enter text. |
| Prior Report Title / Reference #: | Click or tap here to enter text. |
| Basis of this Review: | Choose an item. |
| Date(s) of this Review: | Click or tap here to enter text. |

PURPOSE OF REVIEW: This Review evaluates whether the Prior Report is accurate, whether it complies with the inspection and reporting requirements of the applicable law selected above, and whether any of its findings, recommendations, or required repairs deviate from or exceed those requirements. The Review also identifies inspection practices that, in the Reviewer’s opinion, were improper or unnecessarily burdened the Owner or occupants.

STANDARD OF REVIEW: California Civil Code §5551 (HOA Property) and Health and Safety Code §17973 (Apartment Property) require an inspection of exterior elevated elements to determine whether the load-bearing components and associated waterproofing elements are in a generally safe condition and free from hazardous conditions caused by fungus, deterioration, decay, or improper alteration. Both statutes define the inspection as a visual inspection (§5551: “the least intrusive method necessary”; §17973: “direct visual examination or comparable means”). Neither statute adopts current building-code dimensional criteria as an inspection standard for existing elements, and Health and Safety Code §17922(d) permits the retention of original materials and the continued use of original methods of construction for existing buildings that are not substandard.

Section A – Statutory Compliance of the Prior Report

Each requirement below is evaluated against the law selected above. Where a requirement does not apply to the selected law, select “N/A – Not Applicable to Selected Law.”

| # | Requirement and Citation | Finding | Reviewer Comments |
| --- | --- | --- | --- |
| 1 | Inspector qualifications. §17973(a): licensed architect; licensed civil or structural engineer; “A,” “B,” or “C-5” contractor with 5 years’ multistory wood-frame experience; or certified building inspector/official not employed by the local jurisdiction. §5551(b): licensed structural engineer or architect only. | Choose an item. | Click or tap here to enter text. |
| 2 | Elements within statutory scope. Only elements more than 6 feet above ground, designed for human occupancy or use, that rely in whole or substantial part on wood or wood-based products for structural support (§17973(b)(2); §5551(a)(3)). | Choose an item. | Click or tap here to enter text. |
| 3 | Sample size and selection. §17973(c)(2): at least 15% of each type of EEE. §5551(a)(4), (b), (c): random, statistically significant sample (95% confidence, ±5% margin of error) from a randomly generated list. | Choose an item. | Click or tap here to enter text. |
| 4 | Inspection method. Visual inspection by the least intrusive method necessary (§5551(a)(5)); direct visual examination or comparable means (§17973(c)(2)). Further (invasive) inspection only where indicated, e.g. signs of water intrusion (§5551(d); §17973(c)(3)(C)). | Choose an item. | Click or tap here to enter text. |
| 5 | Required evaluation content. Current condition; expected future performance and projected service life / remaining useful life; recommendations for further inspection or repair (§17973(c)(3); §5551(e)). | Choose an item. | Click or tap here to enter text. |
| 6 | Photographs, test results, narrative baseline. §17973(c)(4): photographs, any test results, and narrative sufficient to establish a baseline for future comparison. | Choose an item. | Click or tap here to enter text. |
| 7 | First-page disclosures (HOA). §5551(e): first page states inspection date, total units, units with EEE, total EEE, EEE inspected, EEE posing an immediate threat, and inspector certification. | Choose an item. | Click or tap here to enter text. |
| 8 | Report signed / stamped and delivered. §17973(c)(4): stamped or signed, delivered to owner within 45 days. §5551(f): signed report to the board, incorporated into the reserve study. | Choose an item. | Click or tap here to enter text. |
| 9 | Immediate-threat determination. Report must state which EEE, if any, pose an immediate threat and whether preventing occupant access or emergency repairs/shoring are necessary (§17973(c)(4), (h)(1); §5551(g)). | Choose an item. | Click or tap here to enter text. |
| 10 | Notice to local enforcement agency. Where an immediate threat is reported, a copy to the local enforcement agency within 15 days (§17973(d)(1); §5551(g)). | Choose an item. | Click or tap here to enter text. |
| 11 | Repairs tied to statutory conditions. Repairs should address elements that are defective, decayed, or deteriorated to the extent they do not meet load requirements or are not generally safe (§17973(c)(1), (g); §5551(b)) — not upgrades of sound, original construction (H&S §17922(d)). | Choose an item. | Click or tap here to enter text. |
| 12 | Prior reports incorporated. §17973(d)(1): subsequent reports incorporate copies of prior inspection reports, including the locations of EEE inspected. | Choose an item. | Click or tap here to enter text. |

Section B – Items in Prior Report Not Required by Law

Check each item that appears in the Prior Report. Note that railings are part of the §17973 EEE definition as to their condition (decay, deterioration, attachment); however, dimensional conformance with the current building code is not an inspection criterion under §17973 or §5551. Neither statute requires load testing; the inspection is visual.

| ☑ | Item | Prior Report Page / Unit | Reviewer Opinion | Reviewer Comments |
| --- | --- | --- | --- | --- |
| ☐ | Guardrail / railing height measured or required to meet current code. | Page / Unit | Choose an item. | Click or tap here to enter text. |
| ☐ | Baluster / picket spacing (e.g. 4-inch sphere) measured or required to meet current code. | Page / Unit | Choose an item. | Click or tap here to enter text. |
| ☐ | Slope of deck or walking surface measured or required to be corrected. | Page / Unit | Choose an item. | Click or tap here to enter text. |
| ☐ | Lateral (horizontal) load testing of railings or guards. | Page / Unit | Choose an item. | Click or tap here to enter text. |
| ☐ | Upgrade of existing, sound elements to current building code where no decay, deterioration, or hazardous condition was found. | Page / Unit | Choose an item. | Click or tap here to enter text. |
| ☐ | Elements outside the statutory definition reported or repaired (6 feet or less above ground, concrete or steel supported, not wood-dependent). | Page / Unit | Choose an item. | Click or tap here to enter text. |
| ☐ | Cosmetic surface conditions reported as failures without a documented waterproofing or load-bearing deficiency. | Page / Unit | Choose an item. | Click or tap here to enter text. |
| ☐ | Other (describe): | Page / Unit | Choose an item. | Click or tap here to enter text. |

Section C – Inspection Practices and Site Conditions

Practices observed in the Prior Report or at the site that, in the Reviewer’s opinion, were improper, unnecessary, or unreasonably burdened the Owner or occupants.

| Practice / Condition | Status | Reviewer Comments |
| --- | --- | --- |
| Soffits, ceilings, or surfaces opened for inspection were left open or not restored. | Choose an item. | Click or tap here to enter text. |
| Occupant access to EEE was restricted (doors blocked, locked, or barricaded) without a documented immediate-threat finding. | Choose an item. | Click or tap here to enter text. |
| Access restriction remained in place where no damage or hazardous condition was found. | Choose an item. | Click or tap here to enter text. |
| Invasive openings were made without documented visual indications (e.g. signs of water intrusion) justifying them. | Choose an item. | Click or tap here to enter text. |
| Immediate-threat finding reported without notice to the local enforcement agency within 15 days. | Choose an item. | Click or tap here to enter text. |
| Inspector or affiliated company proposed to perform the recommended repairs (potential conflict of interest). | Choose an item. | Click or tap here to enter text. |
| Findings or photographs do not support the stated condition rating or life expectancy. | Choose an item. | Click or tap here to enter text. |
| Other (describe): | Choose an item. | Click or tap here to enter text. |

Section D – Repairs Required by the Prior Report

Repairs the Prior Report requires, and the Reviewer’s opinion whether each is required by the applicable law. Add rows as needed.

| Unit / Location | Prior Report Recommendation | Reviewer Opinion | Basis |
| --- | --- | --- | --- |
| Unit / Location | Prior Report recommendation | Choose an item. | Basis / citation |
| Unit / Location | Prior Report recommendation | Choose an item. | Basis / citation |
| Unit / Location | Prior Report recommendation | Choose an item. | Basis / citation |
| Unit / Location | Prior Report recommendation | Choose an item. | Basis / citation |
| Unit / Location | Prior Report recommendation | Choose an item. | Basis / citation |
| Unit / Location | Prior Report recommendation | Choose an item. | Basis / citation |

Section E – Reviewer Conclusion

| Overall Opinion: | Choose an item. |
| --- | --- |
| Accuracy of Findings: | Choose an item. |
| Recommendation: | Choose an item. |

SUMMARY OF OPINION:

Click or tap here to enter text.

ADDITIONAL CRITIQUE AND COMMENTS:

Click or tap here to enter text.

LIMITATIONS OF REVIEW: This Review is limited to the Prior Report and the documents and site observations identified above. It is not a new inspection under Civil Code §5551 or Health and Safety Code §17973 unless expressly stated, and it does not constitute legal advice. The opinions expressed are those of the undersigned based on the undersigned’s knowledge, education, and professional experience. The Prior Report remains the work product of its author and is attached as Annex 1 solely for reference.

This report is subject to the terms, conditions, and limitations of the contract under which it was.

commissioned, including, but not limited to the following: The report is, will be, and shall remain, the

property of the Company, and it shall be a continuing obligation of Owner and its agents not to disclose the report to any person or use the report for any purpose not specifically contemplated by the statute governing its contents without Company’s express written permission given in advance of such use or disclosure. Under no circumstance is this report to be used in any litigation or legal process without the Company’s prior written approval.

In no event shall Company be liable for, and Owner and its agents hereby expressly release the Company from and against, any indirect, special, incidental, punitive, exemplary or consequential damages, including, but not limited to, damages for loss of revenue and profits, loss of business or business interruptions, loss of use of assets or facilities, and rental expenses and, in all cases, the total liability of Company on any and all claims brought by Owner against Company under any theory at law or in equity shall not exceed the Fee paid for the report or any and all services rendered by Company.

Any action of any character arising from or related to this report including, but not limited to, breach of contract, negligence, any intentional tort, or any claim based upon alleged noncompliance with statute, shall be commenced by Owner against Company no later than six (6) months after the accrual of the cause of action, or six (6) months after the date of the report of the inspection, whichever period is shorter. The owner and its agents acknowledge that their failure to commence an action.

within the periods of time set forth in this paragraph shall constitute an absolute bar and complete

defense to any action brought thereafter.

This report is based solely upon the undersigned's knowledge, education, professional experience, and

opinions. Under no circumstances is the Company and/or the inspector liable for the existing or future condition of the property or any of its structures or surfaces.

| Signature |  |
| --- | --- |
| Inspector Name |  |
| Qualifying Title |  |
| License # |  |

NOTE: *** This document, in its entirety, is protected by the Copyright of the Company and is NOT to be reproduced in any manner, including but not limited to electronic imaging, word copy or text copy, without the Company’s express prior written approval. Any violation or infringement will be subject to legal recourse.

Annex 1 – Prior Inspection Report Reviewed

[The Prior Report is attached here.]